## Slide 1
MS2
LC-MS/MS Thermo
Water
Bruker
…
mzML
Centroid mode
mzML
(Centroid)
MS1
Metadata
(.csv)
Targeted exact mass
Targeted retention time
Feature ID
Ion mode
spectrum.txt
(Metfrag)
.mat (MSFinder)
MergeION :: library_generator ()
.mgf
(GNPS)
(Previous library .mgf)
.ms
(CSI-FingerID)
Batch-processing
In-house library
…
Extract scans
MSConvertGUI
or vendor software
Merged (consensus)
spectral library
MetFrag_writer()
CSI_FingerID_writer()
MSFinder_writer()

## Slide 2
(Line spectra = Centroid-mode)

## Slide 3
v
1. Browse and add raw LC-MS files.
v
2. If your data is in profile mode, you need to apply peak picking for both MS1 and MS2 scans. We recommend Vendor algorithms for all data formats except for Waters’.
v
4
3. Define output format and output directory.
v
2. Please choose CWT algorithm to centroid Waters data file. Please use default parameters.

## Slide 4
…
…
The first five columns of the metadata are mandatory. Column names and order must not be changed !
The rest of columns are optional
e.g. “STRUCTURE” and “NAME” can be added for building in-house library.
Precursor m/z to be found in chromatograms
Retention time (in minute) of metabolic features to be found, please put it to N/A if unknown
"Positive"
or "Negative"
A unique identifier for targeted compounds in spectral library, number or character
Precursor ion adduct type, one of "M+H","M+Na","M+K","M-H“, "M+Cl"